|  | ЈП „ЗАВОД ЗА УРБАНИЗАМ ВОЈВОДИНЕ“ НОВИ САД |  |  |
| --- | --- | --- | --- |
| БРОЈ: 32/ |  |  | Веза: |
| ДАНА: 3.03.2015. |  |  | HUSRB/1203/111/050 |

CORRIGENDUM No.1

Contract title: Rehabilitation of the road Djala towards Novi Knezevac - Coka: sections km 17+925-18+450; 18+875-18+925 in the framework of project: “Rehabilitation of Tiszasziget-Djala Cross-Border Connecting Road”

Publication Ref: HUSRB/1203/111/050-6.2.1. II.

The following alterations and/or corrections are made:

(1) to VOLUME 3 – TECHNICAL SPECIFICATIONS: 5. BILL OF QUANTITIES OF WORK

The former text:

STATIONARY km 17+925-18+450;18+875-18+925

| Ord. No. | # | WORK DESCRIPTION | MEASURE UNIT | QUANTITY OF WORK |
| --- | --- | --- | --- | --- |
|  |  | 1. PRELIMINARY WORK |  |  |
| 1 | 1.01 | Marking out and labelling of route and buildings | m1 | 575,00 |
| 2 | 1.02 | Demolition of pavement | m2 | 38,440 |
| 3 | 1,03 | Scraping of asphalt layer | m3 | 412,50 |
| 4 | 1.04 | Making of build designs | m1 | 575,00 |
|  |  | TOTAL 1. |  |  |
|  |  | 2. EARTHWORKS |  |  |
| 1 | 2.01. | Excavation of humus |  |  |
|  |  | in a layer d=35 cm thick | m3 | 2.128,25 |
| 2 | 2.02 | Subsoil compaction | m2 | 188,42 |
| 3 | 2.03 | Construction of sand embankments | m3 | 350,25 |
| 4 | 2.04 | Topsoiling of shoulders, flat surfaces |  |  |
|  |  | and slopes, d=20cm | m2 | 6090,00 |
|  |  | TOTAL 2. |  |  |
|  |  | 3. PAVEMENT STRUCTURE |  |  |
| 1 | 3.01 | Making of support layer from mechanically compacted granular stone material. |  |  |
|  | 3.01a | stone chipping aggregate 0/31.5 mm |  |  |
|  |  | d =15 cm | m3 | 47,14 |
|  | 3.01b | gravel |  |  |
|  |  | d =20 cm | m3 | 77,39 |
| 2 | 3.02 | Making of upper bitumenous support layer (BLS) |  |  |
|  |  | Making of the upper support layer BNS 22 C d =7cm | m3 | 6,93 |
|  |  | Making of the finishing layer |  |  |
|  |  | BNS 22 C d =6cm | m3 | 16,04 |
| 3 | 3.03 | Construction of wearing course out of asphaltic concrete |  |  |
|  |  | AB 16 d=6cm | m3 | 206,25 |
| 4 | 3.04 | Setting of reinforcing thermostable network |  |  |
|  |  | Triaxial networks reinforced diagonally, surface |  |  |
|  |  | mass min 310gr/m2 ±10%,longitudinal tensile strength |  |  |
|  |  | MD 70KN/m ±10%, transverse CMD 70KN/m±10% |  |  |
|  |  | elongation MD and CMD at maximum load must not exceed |  |  |
|  |  | 13% ±10%, at force in MD andCMD direction of 14KN/m |  |  |
|  |  | maximum extension must not exceed the value of 2% |  |  |
|  |  | the net must be thermostable, made from polyester |  |  |
|  |  | spacing of net fibers is 30x30 to 40x40mm | m2 | 3.450,00,33 |
|  |  | TOTAL 3. |  |  |
|  |  | 4. DRAINAGE |  |  |
| 1 | 4.01 | Trench excavation | m3 | 1743,50 |
|  |  | TOTAL 4. |  |  |
|  |  | SUMMARY |  |  |
|  |  | 1. PRELIMINARY WORK |  |  |
|  |  | 2. EARTHWORKS |  |  |
|  |  | 3. PAVEMENT STRUCTURE |  |  |
|  |  | 4. DRAINAGE |  |  |
|  |  | TOTAL : |  |  |

Shall read as new text:

| Ord. No. | # | WORK DESCRIPTION | MEASURE UNIT | QUANTITY OF WORK |
| --- | --- | --- | --- | --- |
|  |  | 1. PRELIMINARY WORK |  |  |
| 1 | 1.01 | Marking out and labelling of route and buildings | m1 | 575,00 |
| 2 | 1.02 | Demolition of pavement | m2 | 38,440 |
| 3 | 1,03 | Scraping of asphalt layer | m3 | 412,50 |
| 4 | 1.04 | Making of build designs | m1 | 575,00 |
|  |  | TOTAL 1. |  |  |
|  |  | 2. EARTHWORKS |  |  |
| 1 | 2.01. | Excavation of humus |  |  |
|  |  | in a layer d=35 cm thick | m3 | 2.128,25 |
| 2 | 2.02 | Subsoil compaction | m2 | 188,42 |
| 3 | 2.03 | Construction of sand embankments | m3 | 350,25 |
| 4 | 2.04 | Topsoiling of shoulders, flat surfaces |  |  |
|  |  | and slopes, d=20cm | m2 | 6090,00 |
|  |  | TOTAL 2. |  |  |
|  |  | 3. PAVEMENT STRUCTURE |  |  |
| 1 | 3.01 | Making of support layer from mechanically compacted granular stone material. |  |  |
|  | 3.01a | stone chipping aggregate 0/31.5 mm |  |  |
|  |  | d =15 cm | m3 | 47,14 |
|  | 3.01b | gravel |  |  |
|  |  | d =20 cm | m3 | 77,39 |
| 2 | 3.02 | Making of upper bitumenous support layer (BLS) |  |  |
|  |  | Making of leveling layer BNS 22 C | m3 | 461,00 |
|  |  | Making of the upper support layer BNS 22 C d =7cm | m3 | 6,93 |
|  |  | Making of the finishing layer |  |  |
|  |  | BNS 22 C d =6cm | m3 | 16,04 |
| 3 | 3.03 | Construction of wearing course out of asphaltic concrete |  |  |
|  |  | AB 16 d=6cm | m3 | 206,25 |
| 4 | 3.04 | Setting of reinforcing thermostable network |  |  |
|  |  | Triaxial networks reinforced diagonally, surface |  |  |
|  |  | mass min 310gr/m2 ±10%,longitudinal tensile strength |  |  |
|  |  | MD 70KN/m ±10%, transverse CMD 70KN/m±10% |  |  |
|  |  | elongation MD and CMD at maximum load must not exceed |  |  |
|  |  | 13% ±10%, at force in MD andCMD direction of 14KN/m |  |  |
|  |  | maximum extension must not exceed the value of 2% |  |  |
|  |  | the net must be thermostable, made from polyester |  |  |
|  |  | spacing of net fibers is 30x30 to 40x40mm | m2 | 3.450,00 |
|  |  | TOTAL 3. |  |  |
|  |  | 4. DRAINAGE |  |  |
| 1 | 4.01 | Trench excavation | m3 | 1743,50 |
|  |  | TOTAL 4. |  |  |
|  |  | SUMMARY |  |  |
|  |  | 1. PRELIMINARY WORK |  |  |
|  |  | 2. EARTHWORKS |  |  |
|  |  | 3. PAVEMENT STRUCTURE |  |  |
|  |  | 4. DRAINAGE |  |  |
|  |  | TOTAL : |  |  |

All other terms and conditions of the VOLUME 3 – TECHNICAL SPECIFICATIONS remain unchanged.